# Adjustments to SRS  Proposal

## 1. User Roles and Access

• Only two roles will exist in the system: Admin and Biomedical Engineer.
• No technician or user roles are required.
• User approval, biomedical approval, and office approval steps can be removed.

## 2. Workflow Simplification

• Preventive Maintenance (PM) and Emergency Maintenance (EM) will follow a simple status flow:
  Pending → In Progress → Completed.
• Multi-level approval stages (User → Biomed → Office) can be eliminated.

## 3. Core Objective – Equipment Database and History

• The main requirement is a complete database of all installed equipment.
• Each equipment record should show full lifecycle details from installation to relocation:
  - Installation date and location

-Serial Number, Model, Manufacturer Name
  - Preventive and emergency maintenance records
  - Software updates
  - Parts replaced
  - Relocation history (to another department or hospital)

-Service Contract Number, MOH Inventory Code, Service Cost 
• A single window view should display the complete history of each equipment.

## 4. Notifications and Follow-up

• The system must generate notifications for pending or overdue PMs.
• Admin and Biomedical Engineers will receive alerts.

PM shall be able to schedule monthly/quarterly or depending the terms under contract.

## 5. PM Tasks Linkage

• PM tasks should be linked to both the equipment group and the assigned Biomedical Engineer.
• Engineers should be able to view and update their assigned PM tasks directly.

## 6. Admin Dashboard and Evaluation

• Admin will have access to monitor overall performance and activities of engineers.
• Key performance indicators to be monitored:
  - Total PMs completed per engineer

- DashBoard
  - Pending/delayed PMs
  - Average response time
  - Service turnaround time

- • Admin dashboard for quarterly performance review of engineers (based on PM completion, response time, etc.).

## 7. Implementation Notes

• The initial focus is on accurate equipment data entry and PM follow-up.
• Additional modules (inventory, invoicing, labor cost tracking) will be activated only after validating Phase 1 performance.
• The system should allow future expansion without disrupting existing data.

## Phase 2 – Future Enhancements

The following will be developed in the second phase if the software functions as expected and users are satisfied:
• Spare parts and consumable inventory management.
• Invoice generation for services or parts.
• Labor hours and cost tracking per service.